## DFS due-diligence
Detailed feasibility study due-diligence checklist – Solar drinking water
Please give a scoring between 0 and 4 for each question.
| Yes, this aspect is fully satisfied | 4
| Yes, this aspect is mostly satisfied | 3
| Yes, but some important information is still missing | 2
| Yes, but much important information is still missing | 1
| No, this aspect is not fulfilled | 0
Points
Data availability/Quality | Do you have all essential data required to assess different pumping options? | 0
| Is the DFS report in an acceptable standard format? | 0
| Does the DFS include on-site survey to collect site-specific data? | 0
| Are the data sources reliable and the data collected of good quality? | 0
| Were interviews conducted with other parties to collect site-specific data? | 0
| Were the community's needs and capabilities considered during site-data collection? | 0
Design and analysis | Is the accessibility to the site location adequately described? | 0
| Is the demography of the beneficiaries/community adequately described? | 0
| Are the current water use practices adequately described? | 0
| Are the locations of major system features (solar array and control equipment, pump location, collection and reservoir tank) defined with evidence of local permits (for example, meeting minutes)? | 0
| Are sufficient natural resources (land, water, solar energy) available? | 0
| Are all the components of the SDW system defined in detail with adequate justification? | 0
| Can the risk of over-pumping of aquifers and the corresponding groundwater depletion be excluded? | 0
| Is the map of the SDW coverage area provided (system location and water T&D)? | 0
| Are adequate photos of the site provided? | 0
| Are the risks of the project adequately assessed and options for mitigation presented? | 0
| Is a detailed bill of quantity and costs provided with justification of rates? | 0
| Are all technical drawings, specifications sheets, SLD, site layouts, etc. provided? | 0
| Is the economic and financial analysis of the SDW project provided? | 0
| Is the assessment of environmental, safety and social aspects provided? | 0
Pumping options | Are financial risks relating to regular electrical grid failures or the operational cost of conventional motor pumping technologies described? | 0
| Is justification for the solar pump as the best technical and least-cost option given? | 0
| Is assessment of solar pump being easily adapted to the drinking water situation done? | 0
| Is assessment of the community having required human resources to build technical know-how to operate and maintain a solar pump described? | 0
| Is the assessment of community having the required technical and managerial skills to cope with varying conditions due to daily and seasonal fluctuations described? | 0
Operation | Is the operational model of the SDW project adequately described? | 0
| Is the community social aspects adequately decribed (willingness to pay, social cohesion etc.)? | 0
| Is there a definite conclusion that deems the SDW project feasible or not? | 0
| Total points | 0
| Recommendations | Points
| DFS is satisfactory with definite conclusions on the way forward | 86-112
| Please collect more data and information | 54-86
| DFS is not satisfactory, thus not approved | 0-54
September 2023 ¦ Published by Alternative Energy Promotion Centre (AEPC) with support of Deutsche Gesellschaft für Internationale Zusammenarbeit (GIZ) GmbH under the project Promotion of Solar Technologies for Economic Development (POSTED). Developed by Integration Umwelt & Energie GmbH, Germany.