## **Handover checklist – Solar water pumps**

Only when all the checkboxes are ticked can the project be handed over to the owner.

|  |  |
| --- | --- |
|  | All obligations of the project contract are fulfilled. |
|  | Testing and commissioning have been completed. |
|  | The project completion report has been submitted to AEPC and has been approved. |
|  | The project completion letter is obtained from the user/local government and submitted to AEPC. |
|  | The user committee/project promoter is adequately trained for the daily operation of the solar water pumping system |
|  | Final briefing with user committee conducted on-site (if applicable). |
|  | The project site is cleared of construction materials. |
|  | Plan for after-sales services prepared subject to the contractual terms. |