## DFS due-diligence
Detailed feasibility study due-diligence checklist – Solar grid-connected system
Please give a scoring between 0 and 4 for each question.
| Yes, this aspect is fully satisfied | 4
| Yes, this aspect is mostly satisfied | 3
| Yes, but some important information is still missing | 2
| Yes, but much important information is still missing | 1
| No, this aspect is not fulfilled | 0
Points
Data availability/Quality | Do you have all essential data required to assess electrification options? | 0
| Is the DFS report in an acceptable standard format? | 0
| Does the DFS include on-site survey to collect site-specific data? | 0
| Are the data sources reliable and the data collected of good quality? | 0
| Were interviews conducted with other parties to collect site-specific data? | 0
| Were the beneficiary's needs and capabilities considered during site-data collection? | 0
Design and analysis | Is the accessibility to the site location adequately described? | 0
| Is the nature of the facility/institution adequately described? | 0
| Is the current reliability of grid electricity and information of other generation sources adequately described? | 0
| Are the locations of major system features (solar array and power conditioning equipment) defined with evidence of permits (for example, meeting minutes)? | 0
| Are sufficient natural resources (land, solar energy) available? | 0
| Is the energy audit satisfactory? | 0
| Are all the components of the solar grid-connected system defined in detail with adequate justification? | 0
| Is the map of the solar grid-connected system in the facility/institution provided (array location, power conditioning equipment, etc.)? | 0
| Are adequate photos of the site provided? | 0
| Are the risks of the project adequately assessed and options for mitigation presented? | 0
| Is a detailed bill of quantity and costs provided with justification of rates? | 0
| Are all technical drawings, specifications sheets, SLD, site layouts, etc. provided? | 0
| Is the economic and financial analysis of the solar grid-connected project provided? | 0
| Is the assessment of environmental, safety and social aspects provided? | 0
| Is the justification for the solar grid-connected system as the best technical and least-cost option given? | 0
| Is the operation and maintenance plan described? | 0
Operation | Is the operational model of the solar grid-connected system project adequately described? | 0
| Is there a definite conclusion that deems the solar grid-connected system project feasible or not? | 0
| Total points | 0
| Recommendations | Points
| DFS is satisfactory with definite conclusions on the way forward | 80-96
| Please collect more data and information | 48-80
| DFS is not satisfactory, thus not approved | 0-48
September 2023 ¦ Published by Alternative Energy Promotion Centre (AEPC) with support of Deutsche Gesellschaft für Internationale Zusammenarbeit (GIZ) GmbH under the project Promotion of Solar Technologies for Economic Development (POSTED). Developed by Integration Umwelt & Energie GmbH, Germany.