## DFS due-diligence
Detailed feasibility study due-diligence checklist – Solar mini-grid
Please give a scoring between 0 and 4 for each question.
| Yes, this aspect is fully satisfied | 4
| Yes, this aspect is mostly satisfied | 3
| Yes, but some important information is still missing | 2
| Yes, but much important information is still missing | 1
| No, this aspect is not fulfilled | 0
Points
Data availability/Quality | Do you have all essential data required to assess electrification options? | 0
| Is the DFS report in an acceptable standard format? | 0
| Does the DFS include on-site survey to collect site-specific data? | 0
| Are the data sources reliable and the data collected of good quality? | 0
| Were interviews conducted with other parties to collect site-specific data? | 0
| Were the community's needs and capabilities considered during site-data collection? | 0
Design and analysis | Is the accessibility to the site location adequately described? | 0
| Is the demography of the community adequately described? | 0
| Is the current access to electricity (for eg. SHS, MHP), and information on future national grid access adequately described? | 0
| Are the locations of major system features (solar array, powerhouse and distribution system) defined with evidence of local permits (for example, meeting minutes)? | 0
| Are sufficient natural resources (land, solar energy) available? | 0
| Is the energy demand projections satisfactory? | 0
| Are all the components of the SMG system defined in detail with adequate justification? | 0
| Is the map of the SMG coverage area provided (system location and T&D)? | 0
| Are adequate photos of the site provided? | 0
| Are the risks of the project adequately assessed and options for mitigation presented? | 0
| Is a detailed bill of quantity and costs provided with justification of rates? | 0
| Are all technical drawings, specifications sheets, SLD, site layouts, etc. provided? | 0
| Is the economic and financial analysis of the SMG project provided? | 0
| Is the assessment of environmental, safety and social aspects provided? | 0
| Is justification for the SMG as the best technical and least-cost option given? | 0
| Are interactions with Ward Office and Rural Municipality office for project ownership described? | 0
| Is assessment of the community having required human resources to build technical know-how to operate and maintain a SMG described? | 0
Operation | Is the operational model of the SMG project adequately described? | 0
| Are the community's social aspects adequately described (willingness to pay for electricity, social cohesion, etc.)? | 0
| Is there a definite conclusion that deems the SMG project feasible or not? | 0
| Total points | 0
| Recommendations | Points
| DFS is satisfactory with definite conclusions on the way forward | 80-104
| Please collect more data and information | 52-80
| DFS is not satisfactory, thus not approved | 0-52
September 2023 ¦ Published by Alternative Energy Promotion Centre (AEPC) with support of Deutsche Gesellschaft für Internationale Zusammenarbeit (GIZ) GmbH under the project Promotion of Solar Technologies for Economic Development (POSTED). Developed by Integration Umwelt & Energie GmbH, Germany.